# System Administration
The webMIP system will hold significant amounts of data used in the process of providing quotations for Supplier agents. This data will require certain administrative functions to keep this data correct and up-to-date. The system also needs to manage the users and provide a method for producing system reports.
## System data
*** need to verify all the data listed, I've nicked it from MIP5 *** The webMIP administrator should be able to administer system data to ensure that values, descriptions and other details are correct and up-to-date. It should be possible for them to create, read, update and delete the system data. The data that the webMIP administrator should be able to administer the following data:-
### Modules
The modules will have the following data items :-
Module Unique identification number	Module filter size
Rig drawing reference number	Module filter type
TMS Module Reference	Module regulator size
Manufacturers identification	Module regulator type
Manufacturers module reference	Module regulator lock up setting
Dimensions A to H	Module slamshut size
Module weight in kg	Module slamshut type
Module current or past	Module slamshut setting
Date module model cancelled	Module relief valve size
Inlet Pressure	Module relief valve type
Service pressure	Module relief valve setting
Module outlet pressure	Module Q Max
Module inlet orientation	Module Cost
Module inlet height	Module delivery cost
Module inlet size	Module control type
Module inlet connection type	Module Notes
Module outlet orientation	Compatible housing reference
Module outlet height	Base Reference
Module outlet size	Meter Reference
Module outlet connection type

### Housing
The housing data will allow the following data items :-
- Housing Unique reference number
- Housing Reference
- Housing Type (Wall Mounted / Lift Off / Walk in / Walk Through)
- Housing type reference for drawing
- Housing dimension L
- Housing dimension W
- Housing dimension H
- Housing Weight
- Number of doors
- Manufacturer ID
- Housing Ventilation type
- Total area of ventilation high and low
- Housing Cost
- Housing Delivery Cost

### Base
The base details will consist of the following data items :-
- Base Reference
- Base Drawing Reference
- Length of Base
- Width of Base
- Depth of Base
- Cost of base
- Dimensions A to I

### Pricing data
The pricing data TBC*** need to get this from Baz

## Users
The webMIP system permits several different user types or roles. To maintain security and the integrity of the system, webMIP must provide administration functions for these users. The webMIP administrator will be able to administer all users in the system except Supplier agents, the supplier agent users are the administration responsibility of the Supplier administrator. The system will allow the webMIP administrator to create, read, update and delete all users they are permitted to manage. Similarly the Supplier administrator will be able to create, read, update and delete supplier agent users they are permitted to manage.

## Reporting
The system will allow the webMIP administrator to run the system data reports. The webMIP administrator will be able to select system data sources and export them as CSV files. The system will provide a simple mechanism for achieving this.