{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["MODULES","METERS"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"MODULES","index":0,"n_rows":141,"n_cols":30,"rows_kept":141,"flags":["formulas_cached_only"]}
["CODE","OUTLET_CNTY_CODE","INLET_CNTY_CODE","DRWG_CODE","METR_CODE","REVA_CODE","SLVA_CODE","SVCP_CODE","WEIGHT","INLET_HEIGHT","INLET_SIZE","OUTLET_PRESSURE","OUTLET_HEIGHT","OUTLET_SIZE","BAS_CODE","HOU_CODE","DIM_A","DIM_B","DIM_C","DIM_D","DIM_E","DIM_H","VALID_FROM","VALID_TO","REGU_CODE","FLTR_CODE","INLET_CNOR_CODE","OUTLET_CNOR_CODE","LEAD_TIME","MANU_REF"]
["ARILHH300A","(MM) PN16","(MM) PN16","lphhstd","MRA300D","BADDATA","BADDATA","LP",300,570,100,21,570,150,"3316HH1","3316",0,1677,287,300,331,1180,"2007-11-15T10:03:02",null,"J48-100","LOW LOSS STRAINER-100","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARILHH400A","(MM) PN16","(MM) PN16","lphhstd","MRA400D","BADDATA","BADDATA","LP",400,700,150,21,700,150,"3516HH1","3516",0,2001,287,350,350,1400,"2007-11-15T10:03:02",null,"J48-150","LOW LOSS STRAINER-150","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARILHH650A","(MM) PN16","(MM) PN16","lphhstd","MRA650E","BADDATA","BADDATA","LP",470,700,150,21,700,150,"3816HH1","3816",0,2199,287,350,376,1400,"2007-11-15T10:03:02",null,"DONKIN 226-150","LOW LOSS STRAINER-150","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARILHH1000A","(MM) PN16","(MM) PN16","lphhstd","MRA1000E","BADDATA","BADDATA","LP",620,700,150,21,700,150,"3816HH1","3816",0,2249,287,350,475,1513,"2007-11-15T10:03:02",null,"DONKIN 226-150","LOW LOSS STRAINER-150","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMHH100A","(MM) PN16","(MM) PN16","lphhcompac","MRA100B","BADDATA","BADDATA","LP",125,985,80,21,250,80,"A4EHH1","A4E",0,755,235,325,325,1350,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMHH160A","(MM) PN16","(MM) PN16","lphhcompac","MRA160C","BADDATA","BADDATA","LP",140,945,80,21,250,100,"A4EHH1","A4E",0,800,225,325,325,1315,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMHH200A","(MM) PN16","(MM) PN16","lphhcompac","MRA200C","BADDATA","BADDATA","LP",140,945,80,21,250,100,"A4EHH1","A4E",0,800,225,325,325,1315,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMHH250A","(MM) PN16","(MM) PN16","lphhcompac","MRA250C","BADDATA","BADDATA","LP",140,1015,80,21,250,100,"A4EHH1","A4E",0,785,240,325,325,1388,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMHH300A","(MM) PN16","(MM) PN16","lphhcompac","MRA300D","BADDATA","BADDATA","LP",175,1150,100,21,250,100,"A4EHH1","A4E",0,1000,230,327,328,1523,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-100","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMVV25A","(MM) BSPT","(MM) BSPT","lpvvcom25","MRA25A","BADDATA","BADDATA","LP",25,105,40,21,0,40,"A1C","A1",37,310,48,80,125,410,"2007-11-15T10:03:02",null,"DONKIN 226-40","FIXED IN UNION-40","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVV40A","(MM) BSPT","(MM) BSPT","lpvvcom40","MRA40A","BADDATA","BADDATA","LP",40,238,50,21,0,40,"A1H","A1",46,356,48,128,127,545,"2007-11-15T10:03:02",null,"DONKIN 226-50","FIXED IN UNION-40","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVV100A","(MM) PN16","(MM) PN16","lpvvcompac","MRA100B","BADDATA","BADDATA","LP",105,350,80,21,100,80,"A4EC1","A4E",100,485,350,245,245,1411,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVV160A","(MM) PN16","(MM) PN16","lpvvcompac","MRA160C","BADDATA","BADDATA","LP",115,350,80,21,100,100,"A4EC1","A4E",100,485,350,245,245,1411,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVV200A","(MM) PN16","(MM) PN16","lpvvcompac","MRA200C","BADDATA","BADDATA","LP",115,350,80,21,100,100,"A4EC1","A4E",100,485,350,245,245,1411,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVV250A","(MM) PN16","(MM) PN16","lpvvcompac","MRA250C","BADDATA","BADDATA","LP",125,350,80,21,50,100,"A4EC1","A4E",100,485,350,245,245,1382,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVV300A","(MM) PN16","(MM) PN16","lpvvcompac","MRA300D","BADDATA","BADDATA","LP",145,400,100,21,100,100,"A4EC2","A4E",115,635,300,245,245,1342,"2007-11-15T10:03:02",null,"J90 ANGLED-100","LOW LOSS STRAINER-100","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVH100A","(MM) PN16","(MM) PN16","lpvhcompac","MRA100B","BADDATA","BADDATA","LP",95,350,80,21,250,80,"A4EVH1","A4E",100,845,225,245,245,1315,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMVH160A","(MM) PN16","(MM) PN16","lpvhcompac","MRA160C","BADDATA","BADDATA","LP",140,350,80,21,250,100,"A4EVH1","A4E",100,885,225,245,245,1315,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMVH200A","(MM) PN16","(MM) PN16","lpvhcompac","MRA200C","BADDATA","BADDATA","LP",140,350,80,21,250,100,"A4EVH1","A4E",100,885,225,325,325,1315,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMVH250A","(MM) PN16","(MM) PN16","lpvhcompac","MRA250C","BADDATA","BADDATA","LP",145,350,80,21,250,100,"A4EVH1","A4E",100,885,225,325,325,1315,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMVH300A","(MM) PN16","(MM) PN16","lpvhcompac","MRA300D","BADDATA","BADDATA","LP",145,400,100,21,250,100,"A4EVH1","A4E",115,1160,225,322,322,1356,"2007-11-15T10:03:02",null,"J90 ANGLED-80","LOW LOSS STRAINER-100","VERTICAL DOWN","HORIZONTAL RIGHT",25,"ACTARIS"]
["ASD16VV35A","BADDATA","BADDATA","BADDATA","MDA16","BADDATA","BADDATA","MP35",45,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD25VV35A","BADDATA","BADDATA","BADDATA","MDA25","BADDATA","BADDATA","MP35",45,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD40VV35A","BADDATA","BADDATA","BADDATA","MDA40","BADDATA","BADDATA","MP35",130,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD65VV35A","BADDATA","BADDATA","BADDATA","MDA65","BADDATA","BADDATA","MP35",137,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD100VV35","BADDATA","BADDATA","BADDATA","MDA100","BADDATA","BADDATA","MP35",145,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD160VV35A","BADDATA","BADDATA","BADDATA","MDA160","BADDATA","BADDATA","MP35",205,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASR25VV35A","(MM) PN16","(MM) PN16","BADDATA","MRA25A","BADDATA","BADDATA","MP35",70,0,0,21,0,0,"A2","A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARILHH100A","(MM) PN16","(MM) PN16","lphhstd","MRA100B","BADDATA","BADDATA","LP",100,540,80,21,540,80,"2016HH1","2016",0,1390,172,200,200,915,"2007-11-15T10:03:02",null,"J48-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARILHH160A","(MM) PN16","(MM) PN16","lphhstd","MRA160C","BADDATA","BADDATA","LP",125,540,80,21,540,100,"2016HH1","2016",0,1376,204,250,250,915,"2007-11-15T10:03:02",null,"J48-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ASR40VV35A","(MM) PN16","(MM) PN16","BADDATA","MRA40A","BADDATA","BADDATA","MP35",75,0,0,21,0,0,"A2","A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARILHH200A","(MM) PN16","(MM) PN16","lphhstd","MRA200C","BADDATA","BADDATA","LP",125,540,80,21,540,100,"2516HH1","2516",0,1376,204,250,250,915,"2007-11-15T10:03:02",null,"J48-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARILHH250A","(MM) PN16","(MM) PN16","lphhstd","MRA250C","BADDATA","BADDATA","LP",125,540,80,21,540,100,"2816HH1","2816",0,1446,204,250,250,915,"2007-11-15T10:03:02",null,"J48-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ASR200VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA200C","BADDATA","BADDATA","MP180",100,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR250VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA250C","BADDATA","BADDATA","MP180",160,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR300VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA300D","BADDATA","BADDATA","MP180",350,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR400VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA400D","BADDATA","BADDATA","MP180",375,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR650VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA650E","BADDATA","BADDATA","MP180",500,0,0,21,0,0,null,"2516",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR1000VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA1000E","BADDATA","BADDATA","MP180",750,0,0,21,0,0,null,"3016",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASD16VV270A","BADDATA","BADDATA","BADDATA","MDA16","BADDATA","BADDATA","MP270",30,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD25VV270A","BADDATA","BADDATA","BADDATA","MDA25","BADDATA","BADDATA","MP270",40,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD40VV270A","BADDATA","BADDATA","BADDATA","MDA40","BADDATA","BADDATA","MP270",60,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD65VV270A","BADDATA","BADDATA","BADDATA","MDA65","BADDATA","BADDATA","MP270",98,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD100VV270A","BADDATA","BADDATA","BADDATA","MDA100","BADDATA","BADDATA","MP270",137,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD160VV270A","BADDATA","BADDATA","BADDATA","MDA160","BADDATA","BADDATA","MP270",193,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASR25VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA25A","BADDATA","BADDATA","MP270",50,0,0,21,0,0,null,"A1",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR40VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA40A","BADDATA","BADDATA","MP270",55,0,0,21,0,0,null,"A1",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR100VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA100B","BADDATA","BADDATA","MP270",70,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR160VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA160C","BADDATA","BADDATA","MP270",100,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR200VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA200C","BADDATA","BADDATA","MP270",100,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR250VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA250C","BADDATA","BADDATA","MP270",160,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR300VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA300D","BADDATA","BADDATA","MP270",350,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR400VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA400D","BADDATA","BADDATA","MP270",375,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR650VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA650E","BADDATA","BADDATA","MP270",500,0,0,21,0,0,null,"2516",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR1000VV270A","(MM) PN16","(MM) PN16","BADDATA","MRA1000E","BADDATA","BADDATA","MP270",750,0,0,21,0,0,null,"3016",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR25D","(MM) BSPT","(MM) BSPT","mpvvstdrot","MRD0025B4B","INTEGRAL-15","INTEGRAL-40","MP270",17,74,40,21,65,50,"A2VV2","A2",186,500,76,119,197,955,"2007-11-15T10:03:03",null,"DONKIN FIG 270R-40","Y TYPE-40","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR40D","(MM) BSPT","(MM) BSPT","mpvvstdrot","MRD0040B4B","INTEGRAL-15","INTEGRAL-40","MP270",19,74,40,21,65,50,"A2VV2","A2",186,500,76,137,216,955,"2007-11-15T10:03:03",null,"DONKIN FIG 270R-40","Y TYPE-40","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR65D","(MM) BSPT","(MM) BSPT","mpvvstdrot","MRD0065B4B","INTEGRAL-15","INTEGRAL-40","MP270",21,74,40,21,65,50,"A2VV2","A2",186,500,78,200,230,925,"2007-11-15T10:03:03",null,"DONKIN FIG 270R-40","Y TYPE-40","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR100D","(MM) PN16","(MM) PN16","mpvvstdrot","MRD0100B4B","INTEGRAL-15","INTEGRAL-50","MP270",82,150,50,21,150,50,"A3VV4","A3",200,640,80,200,420,1250,"2007-11-15T10:03:03",null,"DONKIN FIG 270R-50","Y TYPE-50","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR160D","(MM) PN16","(MM) PN16","mpvvstdrot","MRD0160B4C","INTEGRAL-15","INTEGRAL-50","MP270",84,150,50,21,150,80,"A3VV4","A3",160,640,120,200,420,1250,"2007-11-15T10:03:03",null,"DONKIN FIG 270R-50","Y TYPE-50","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR450D","(MM) PN16","(MM) PN16","mpvvlooprot","MRD0450B4D","10L-25","DONKIN FIG 305-50","MP270",246,365,100,21,300,100,"3215VV1","3215",166,400,1700,310,385,1400,"2007-11-15T10:03:03",null,"DONKIN FIG 280-50","ANGLE PATTERN-100","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR650D","(MM) PN16","(MM) PN16","mpvvlooprot","MRD0650B4E","10L-25","DONKIN FIG 305-80","MP270",322,365,100,21,200,150,"3416VV1","3416",206,400,1830,350,350,1300,"2007-11-15T10:03:03",null,"DONKIN FIG 280-80","ANGLE PATTERN-100","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR1075D","(MM) PN16","(MM) PN16","mpvvlooprot","MRD1075B4E","10L-25","DONKIN FIG 305-80","MP270",376,250,150,21,200,150,"3416VV2","3416",165,400,1815,381,442,1300,"2007-11-15T10:03:03",null,"DONKIN FIG 280-80","ANGLE PATTERN-150","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR1600D","(MM) PN16","(MM) PN16","mpvvlooprot","MRD1600B4F","10L-25","DONKIN FIG 305-100","MP270",611,416,150,21,158,200,"3820VV1","3820",210,450,2150,428,527,1795,"2007-11-15T10:03:03",null,"DONKIN FIG 280-100","ANGLE PATTERN-150","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR25D","(MM) BSPT","(MM) BSPT","BADDATA","MRD0025B4B","BADDATA","BADDATA","LP",500,130,50,21,50,50,null,null,999,330,999,999,999,752,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR40D","(MM) BSPT","(MM) BSPT","BADDATA","MRD0040B4B","BADDATA","BADDATA","LP",500,130,50,21,50,50,null,null,999,330,999,999,999,752,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR50D","(MM) BSPT","(MM) BSPT","BADDATA","MRD0065B4B","BADDATA","BADDATA","LP",500,130,50,21,50,50,null,null,999,330,999,999,999,752,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR81D","(MM) PN16","(MM) PN16","BADDATA","MRD0100B4B","BADDATA","BADDATA","LP",950,175,80,21,150,80,null,null,999,450,999,999,999,1400,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR130D","(MM) PN16","(MM) PN16","BADDATA","MRD0160B4C","BADDATA","BADDATA","LP",950,175,80,21,150,80,null,null,999,450,999,999,999,1350,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR229D","(MM) PN16","(MM) PN16","BADDATA","MRD0250B4D","BADDATA","BADDATA","LP",950,410,100,21,150,100,null,null,999,500,999,999,999,1420,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR283D","(MM) PN16","(MM) PN16","BADDATA","MRD0310B4D","BADDATA","BADDATA","LP",1000,385,100,21,341,150,null,null,999,1991,999,999,999,1180,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR362D","(MM) PN16","(MM) PN16","BADDATA","MRD0450B4D","BADDATA","BADDATA","LP",2630,435,150,21,341,150,null,null,999,1930,999,999,999,1515,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR538D","(MM) PN16","(MM) PN16","BADDATA","MRD0650B4E","BADDATA","BADDATA","LP",2765,538,150,21,382,150,null,null,999,2025,999,999,999,1515,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR708D","(MM) PN16","(MM) PN16","BADDATA","MRD1075B4E","BADDATA","BADDATA","LP",3070,547,150,21,461,150,null,null,999,2780,999,999,999,1510,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["AR1076D","(MM) PN16","(MM) PN16","BADDATA","MRD1600B4F","BADDATA","BADDATA","LP",3615,520,150,21,300,150,null,null,999,3407,999,999,999,1490,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASR25A","(MM) BSPT","(MM) BSPT","mpvvstdrot","MRA25A","INTEGRAL-15","INTEGRAL-25","MP270",50,110,20,21,86,40,"A1VV1","A1",25,399,47,86,103,575,"2007-11-15T10:03:03",null,"RBI 2111-25","Y TYPE-20","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR40A","(MM) BSPT","(MM) BSPT","mpvvstdrot","MRA40A","INTEGRAL-15","INTEGRAL-25","MP270",55,98,25,21,81,40,"A1VV2","A1",30,479,47,86,103,573,"2007-11-15T10:03:03",null,"RBI 2611-25","Y TYPE-20","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR100A","(MM) BSPT","(MM) BSPT","mpvvstdrot","MRA100B","VS811-25","INTEGRAL-25","MP270",70,80,40,21,125,50,"A2VV1","A2",180,680,90,128,272,1072,"2007-11-15T10:03:03",null,"RBE 4011-25","Y TYPE-40","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR160A","(MM) PN16","(MM) BSPT","mpvvstdrot","MRA160C","VS811-25","INTEGRAL-40","MP270",100,460,50,21,80,80,"A3VV1","A3",90,1280,101,200,250,1189,"2007-11-15T10:03:03",null,"RBE 1711-40","ANGLE PATTERN-50","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR200A","(MM) PN16","(MM) BSPT","mpvvstdrot","MRA200C","VS811-25","INTEGRAL-40","MP270",100,450,50,21,80,80,"A3VV2","A3",90,1223,100,210,286,1177,"2007-11-15T10:03:03",null,"RBE 1711-40","ANGLE PATTERN-50","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR250A","(MM) PN16","(MM) PN16","mpvvstdrot","MRA250C","VS811-25","INTEGRAL-40","MP270",160,355,80,21,80,80,"A3VV3","A3",113,1240,93,210,286,1270,"2007-11-15T10:03:03",null,"RBE 1711-40","ANGLE PATTERN-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR300A","(MM) PN16","(MM) PN16","mpvvstdrot","MRA300D","VS811-25","INTEGRAL-40","MP270",350,355,80,21,80,100,"A4EVV1","A4E",109,1310,111,240,335,1395,"2007-11-15T10:03:03",null,"RBE 4011-40","ANGLE PATTERN-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR400A","(MM) PN16","(MM) PN16","mpvvstdrot","MRA400D","VS811-25","INTEGRAL-40","MP270",375,355,80,21,80,100,"A4EVV2","A4E",104,1310,106,290,460,1400,"2007-11-15T10:03:03",null,"RBE 4011-40","ANGLE PATTERN-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR650A","(MM) PN16","(MM) PN16","mpvvstdrot","MRA650E","VS811-25","INTEGRAL-50","MP270",500,381,100,21,150,150,"2516VV1","2516",150,1467,250,300,465,1918,"2007-11-15T10:03:03",null,"RBE 4011-50","ANGLE PATTERN-100","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR1000A","(MM) PN16","(MM) PN16","mpvvstdrot","MRA1000E","VS811-25","INTEGRAL-80","MP270",750,419,150,21,150,150,"3016VV1","3016",157,1515,230,310,590,1967,"2007-11-15T10:03:03",null,"RBE 4011-80","ANGLE PATTERN-150","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASD16A","(MM) BSPT","(MM) BSPT","mpvvstddia","MDA16","INTEGRAL-15","INTEGRAL-25","MP270",30,213,20,21,326,40,"A1HVO2","A1",25,363,95,170,180,682,"2007-11-15T10:03:03",null,"RBI 2011-25","Y TYPE-20","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD25A","(MM) BSPT","(MM) BSPT","mpvvstddia","MDA25","INTEGRAL-15","INTEGRAL-25","MP270",40,102,25,21,485,50,"A2HVO3","A2",140,529,76,143,165,691,"2007-11-15T10:03:03",null,"RBI 2111-25","Y TYPE-25","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD40A","(MM) BSPT","(MM) BSPT","mpvvstddia","MDA40","INTEGRAL-15","INTEGRAL-25","MP270",60,175,25,21,634,50,"A2HVO4","A2",60,678,137,178,203,914,"2007-11-15T10:03:03",null,"RBI 2611-25","Y TYPE-25","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD65A","(MM) PN16","(MM) BSPT","mpvvstddia","MDA65","INTEGRAL-15","INTEGRAL-40","MP270",98,151,40,21,797,80,"A3HVO4","A3",60,762,250,190,195,1006,"2007-11-15T10:03:03",null,"RBI 3211-40","Y TYPE-40","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD100A","(MM) PN16","(MM) BSPT","mpvvstddia","MDA100","VS811-25","INTEGRAL-25","MP270",137,134,40,21,937,80,"A3HVO5","A3",180,828,172,271,330,1319,"2007-11-15T10:03:03",null,"RBE 4011-25","Y TYPE-40","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASR650VV35A","(MM) PN16","(MM) PN16","BADDATA","MRA650E","BADDATA","BADDATA","MP35",633,0,0,21,0,0,"4516","4516",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR1000VV35A","(MM) PN16","(MM) PN16","BADDATA","MRA1000E","BADDATA","BADDATA","MP35",883,0,0,21,0,0,"4520","4520",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASD16VV65A","BADDATA","BADDATA","BADDATA","MDA16","BADDATA","BADDATA","MP65",35,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD25VV65A","BADDATA","BADDATA","BADDATA","MDA25","BADDATA","BADDATA","MP65",45,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD40VV65A","BADDATA","BADDATA","BADDATA","MDA40","BADDATA","BADDATA","MP65",130,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD65VV65A","BADDATA","BADDATA","BADDATA","MDA65","BADDATA","BADDATA","MP65",137,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD100VV65A","BADDATA","BADDATA","BADDATA","MDA100","BADDATA","BADDATA","MP65",145,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD160VV65A","BADDATA","BADDATA","BADDATA","MDA160","BADDATA","BADDATA","MP65",205,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASR25VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA25A","BADDATA","BADDATA","MP65",70,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR40VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA40A","BADDATA","BADDATA","MP65",75,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR100VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA100B","BADDATA","BADDATA","MP65",90,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR160VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA160C","BADDATA","BADDATA","MP65",120,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR200VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA200C","BADDATA","BADDATA","MP65",120,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR250VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA250C","BADDATA","BADDATA","MP65",210,0,0,21,0,0,null,"2516",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR300VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA300D","BADDATA","BADDATA","MP65",380,0,0,21,0,0,null,"2516",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR400VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA400D","BADDATA","BADDATA","MP65",500,0,0,21,0,0,null,"3316",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR650VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA650E","BADDATA","BADDATA","MP65",625,0,0,21,0,0,null,"3516",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR1000VV65A","(MM) PN16","(MM) PN16","BADDATA","MRA1000E","BADDATA","BADDATA","MP65",875,0,0,21,0,0,null,"3516",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASD16VV105A","BADDATA","BADDATA","BADDATA","MDA16","BADDATA","BADDATA","MP105",30,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD25VV105A","BADDATA","BADDATA","BADDATA","MDA25","BADDATA","BADDATA","MP105",40,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD40VV105A","BADDATA","BADDATA","BADDATA","MDA40","BADDATA","BADDATA","MP105",60,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD65VV105A","BADDATA","BADDATA","BADDATA","MDA65","BADDATA","BADDATA","MP105",98,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD100Vv105A","BADDATA","BADDATA","BADDATA","MDA100","BADDATA","BADDATA","MP105",137,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:02",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD160VV105A","BADDATA","BADDATA","BADDATA","MDA160","BADDATA","BADDATA","MP105",193,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASR25VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA25A","BADDATA","BADDATA","MP105",50,0,0,21,0,0,null,"A1",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR40VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA40A","BADDATA","BADDATA","MP105",55,0,0,21,0,0,null,"A1",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR100VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA100B","BADDATA","BADDATA","MP105",70,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR160VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA160C","BADDATA","BADDATA","MP105",100,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR200VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA200C","BADDATA","BADDATA","MP105",100,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR250VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA250C","BADDATA","BADDATA","MP105",160,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR300VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA300D","BADDATA","BADDATA","MP105",350,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR400VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA400D","BADDATA","BADDATA","MP105",375,0,0,21,0,0,null,"A4E",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR650VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA650E","BADDATA","BADDATA","MP105",750,0,0,21,0,0,null,"3016",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR1000VV105A","(MM) PN16","(MM) PN16","BADDATA","MRA1000E","BADDATA","BADDATA","MP105",750,0,0,21,0,0,null,"3516",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASD16VV180A","BADDATA","BADDATA","BADDATA","MDA16","BADDATA","BADDATA","MP180",30,0,0,21,0,0,null,"A1",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD25VV180A","BADDATA","BADDATA","BADDATA","MDA25","BADDATA","BADDATA","MP180",40,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD40VV180A","BADDATA","BADDATA","BADDATA","MDA40","BADDATA","BADDATA","MP180",60,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD65VV180A","BADDATA","BADDATA","BADDATA","MDA65","BADDATA","BADDATA","MP180",98,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD100Vv180A","BADDATA","BADDATA","BADDATA","MDA100","BADDATA","BADDATA","MP180",137,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASD160VV180A","BADDATA","BADDATA","BADDATA","MDA160","BADDATA","BADDATA","MP180",193,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ASR25VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA25A","BADDATA","BADDATA","MP180",50,0,0,21,0,0,null,"A1",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR40VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA40A","BADDATA","BADDATA","MP180",55,0,0,21,0,0,null,"A1",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR100VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA100B","BADDATA","BADDATA","MP180",70,0,0,21,0,0,null,"A2",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ASR160VV180A","(MM) PN16","(MM) PN16","BADDATA","MRA160C","BADDATA","BADDATA","MP180",100,0,0,21,0,0,null,"A3",0,0,0,0,0,0,"2007-11-15T10:03:03",null,"BADDATA","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["AR10265H","BADDATA","BADDATA","BADDATA","MRD1600B4F","BADDATA","BADDATA","LP",3615,520,150,21,300,150,"2016HH1","1765H",999,3407,999,999,999,1490,"2007-12-04","2008-12-03","J48-100","BADDATA","VERTICAL DOWN","VERTICAL DOWN",25,"DRESSER"]
["ASD160A","(MM) PN16","(MM) BSPT","mpvvstddia","MDA160","VS811-25","INTEGRAL-40","MP270",193,122,50,21,904,100,"A3HVO6","A3",180,840,250,305,340,1329,"2007-11-15T10:03:03",null,"RBE 1711-40","Y TYPE-50","VERTICAL DOWN","VERTICAL UP",25,"ACTARIS"]
["ARILHH65A","(MM) PN16","(MM) PN16","lphhstd","MRA65B","BADDATA","BADDATA","LP",100,540,80,21,540,80,"2016HH1","2016",0,1390,172,200,200,915,"2007-11-15T10:03:03",null,"J48-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMHH65A","(MM) PN16","(MM) PN16","lphhcompac","MRA65B","BADDATA","BADDATA","LP",125,985,80,21,250,80,"A4EHH1","A4E",0,755,235,325,325,1350,"2007-11-15T10:03:03",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","HORIZONTAL LEFT","HORIZONTAL RIGHT",25,"ACTARIS"]
["ARCMVV65A","(MM) PN16","(MM) PN16","lpvvcompac","MRA65B","BADDATA","BADDATA","LP",105,350,80,21,100,80,"A4EC1","A4E",100,485,350,245,245,1411,"2007-11-15T10:03:03",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","VERTICAL DOWN",25,"ACTARIS"]
["ARCMVH65A","(MM) PN16","(MM) PN16","lpvhcompac","MRA65B","BADDATA","BADDATA","LP",95,350,80,21,250,80,"A4EVH1","A4E",100,845,225,245,245,1315,"2007-11-15T10:03:03",null,"J90 ANGLED-80","LOW LOSS STRAINER-80","VERTICAL DOWN","HORIZONTAL RIGHT",25,"ACTARIS"]

{"sheet":"METERS","index":1,"n_rows":30,"n_cols":14,"rows_kept":30,"flags":["formulas_cached_only"]}
["CODE","DRWG_CODE","METY_CODE","PRTY_ID","DIM_A","DIM_B","CENTRES","DIM_C","WEIGHT","QMAX","VALID_FROM","VALID_TO","QNOM","QMIN"]
["MRA25A",null,"ROTARY",100,121,96,0,159,2.7,25,"2007-02-13",null,25,1.3]
["MRA40A",null,"ROTARY",100,121,96,0,189,3.4,40,"2007-02-13",null,40,2]
["MRA65B",null,"ROTARY",100,171,96,0,307,3.4,65,"2007-02-13",null,65,2]
["MRA100B",null,"ROTARY",100,171,182,0,307,11,100,"2007-02-13",null,92.53,5]
["MRA160C",null,"ROTARY",100,171,182,0,382,15,160,"2007-02-13",null,160,8]
["MRA200C",null,"ROTARY",100,171,182,0,428,17,200,"2007-02-13",null,187.79,10]
["MRA250C",null,"ROTARY",100,241,235,0,409,29,250,"2007-02-13",null,201.91,12.5]
["MRA300D",null,"ROTARY",100,241,235,0,479,34,300,"2007-02-13",null,264.69,15]
["MRA400D",null,"ROTARY",100,241,235,0,615,43,400,"2007-02-13",null,329.15,20]
["MRA650E",null,"ROTARY",100,450,308,0,665,104,650,"2007-02-13",null,534.87,32.5]
["MRA1000E",null,"ROTARY",100,500,400,0,820,197,1000,"2007-02-13",null,666.4,50]
["MRD0025B4B",null,"ROTARY",101,171,152,0,316,8,25,"2007-02-13",null,25,1.25]
["MRD0040B4B",null,"ROTARY",101,171,152,0,353,10,40,"2007-02-13",null,40,2]
["MRD0065B4B",null,"ROTARY",101,171,177,0,357,12,65,"2007-02-13",null,57,3.25]
["MRD0100B4B",null,"ROTARY",101,171,177,0,388,14,100,"2007-02-13",null,81,5]
["MRD0160B4C",null,"ROTARY",101,171,177,0,460,17,160,"2007-02-13",null,130,8]
["MRD0250B4D",null,"ROTARY",101,241,226,0,485,28,250,"2007-02-13",null,230,12.5]
["MRD0310B4D",null,"ROTARY",101,241,226,0,502,29,310,"2007-02-13",null,285,15.5]
["MRD0450B4D",null,"ROTARY",101,241,226,0,620,38,450,"2007-02-13",null,362,22.5]
["MRD0650B4E",null,"ROTARY",101,406,457,0,684,94,650,"2007-02-13",null,547,32.5]
["MRD1075B4E",null,"ROTARY",101,533,457,0,822,116,1075,"2007-02-13",null,710,54]
["MRD2885B4F",null,"ROTARY",101,711,754,0,1295,1055,2885,"2007-02-13",null,2137,144]
["MDA16",null,"DIAPHRAGM",100,0,0,0,0,0,16,"2007-02-13",null,16,0.8]
["MDA25",null,"DIAPHRAGM",100,0,0,0,0,0,25,"2007-02-13",null,25,1.25]
["MDA40",null,"DIAPHRAGM",100,0,0,0,0,0,40,"2007-02-13",null,40,2]
["MDA65",null,"DIAPHRAGM",100,0,0,0,0,0,65,"2007-02-13",null,65,3.25]
["MDA100",null,"DIAPHRAGM",100,0,0,0,0,0,100,"2007-02-13",null,99,5]
["MDA160",null,"DIAPHRAGM",100,0,0,0,0,0,160,"2007-02-13",null,136,8]
["MRD1600B4F",null,"ROTARY",101,533,457,0,922,284,1600,"2007-02-13",null,1181,80]