{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Bases","Kiosks","Modules"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Bases","index":0,"n_rows":53,"n_cols":17,"rows_kept":53,"flags":["formulas_cached_only"]}
[{"$nulls":7},"H Shaped Bases","Length","Width","Top to Centre Line","Left Cutout Width","Left Cutout Length","Left To Inlet Pipe Center","Right  Cutout Width","Right Cutout Length","Right To Outlet Pipe Center"]
[{"$nulls":7},"C Shaped Bases","Length","Width","Top to Centre Line","Top to Cutout","Cutout Length","Left To Inlet Pipe Center","Inlet Center to Outlet Center","N/A","N/A"]
["Base number","Base Ref","Base Reference","Bas Dwg Ref","BasL","BasW","BasDP","BasCos","Dim A","Dim B","Dim C","Dim D","Dim E","Dim F","Dim G","Dim H","Dim I"]
[1,"U016LPB",null,"H",950,700,100,{"v":625,"d":"£625.00"},950,700,350,80,250,225,80,250,0]
[2,"U016MPB",null,"H",950,700,100,{"v":625,"d":"£625.00"},950,700,350,80,255,220,80,255,0]
[3,"U025LPB",null,"H",1200,740,100,{"v":625,"d":"£625.00"},1200,740,370,80,200,140,80,250,0]
[4,"U025MPB",null,"H",1400,950,100,{"v":625,"d":"£625.00"},1400,950,475,80,350,300,80,350,0]
[5,"U040LPB",null,"H",1200,740,100,{"v":625,"d":"£625.00"},1200,740,370,80,200,140,80,250,0]
[6,"U040MPB",null,"H",1400,950,100,{"v":625,"d":"£625.00"},1400,950,475,80,300,250,100,300,0]
[7,"U065LPB",null,"H",1700,950,100,{"v":625,"d":"£625.00"},1700,950,475,80,250,190,150,300,0]
[8,"U065MPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,100,450,400,100,450,0]
[9,"U100LPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,150,450,400,150,400,0]
[10,"U100MPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,100,400,350,100,400,0]
[11,"U160LPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,150,450,400,150,450,0]
[12,"U160MPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,100,350,300,150,375,0]
[13,"RA0025LPB",null,"H",950,700,100,{"v":625,"d":"£625.00"},950,700,350,80,370,320,80,370,240]
[14,"RA0025MPB",null,"H",950,700,100,{"v":625,"d":"£625.00"},950,700,350,80,335,275,100,345,275]
[15,"RA0040LPB",null,"H",950,700,100,{"v":625,"d":"£625.00"},950,750,350,80,347,297,80,347,297]
[16,"RA0040MPB",null,"H",1400,950,100,{"v":625,"d":"£625.00"},1400,950,475,80,417,357,100,427,357]
[17,"RA0065LPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,150,790,707,100,760,707]
[18,"RA0100LPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,150,790,707,100,760,707]
[19,"RA0100MPB",null,"H",1625,950,100,{"v":625,"d":"£625.00"},1625,950,475,100,520,443,100,460,382]
[20,"RA0160LPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,150,790,707,150,790,707]
[21,"RA0160MPB",null,"H",2700,1500,150,{"v":625,"d":"£625.00"},2700,1500,750,100,785,710,150,800,710]
[22,"RA0200LPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,150,790,707,150,790,707]
[23,"RA0200MPB",null,"H",2700,1500,150,{"v":625,"d":"£625.00"},2700,1500,750,100,809,734,150,827,737]
[24,"RA0250LPB",null,"H",1900,1150,150,{"v":1025,"d":"£1,025.00"},1900,1150,575,150,790,707,150,790,707]
[25,"RA0250MPB",null,"H",2700,1500,150,{"v":1025,"d":"£1,025.00"},2700,1500,750,150,820,730,150,820,730]
[26,"RA0250+LPB",null,"H",2700,1500,150,{"v":1025,"d":"£1,025.00"},2700,1500,750,200,910,809,150,900,809]
[27,"RA0300LPB",null,"HH",2700,1500,150,{"v":1025,"d":"£1,025.00"},2700,1500,750,200,530,431,200,530,431]
[28,"RA0300MPB",null,"H",2700,1500,150,{"v":1025,"d":"£1,025.00"},2700,1500,750,150,775,685,200,805,705]
[29,"RA0300+LPB",null,"H",3800,2050,150,{"v":1275,"d":"£1,275.00"},3800,2050,1025,250,980,856,200,955,855]
[30,"RA0400LPB",null,"H",3800,2050,150,{"v":1275,"d":"£1,275.00"},3800,2050,1025,250,990,865,200,964,864]
[31,"RA0400MPB",null,"H",2700,1500,150,{"v":1025,"d":"£1,025.00"},2700,1500,750,150,775,685,200,805,705]
[32,"RA0650LPB",null,"HH",4300,2300,150,{"v":1275,"d":"£1,275.00"},4300,2300,1150,250,987,862,250,987,862]
[33,"RA0650MPB",null,"H",3300,2300,150,{"v":1275,"d":"£1,275.00"},3300,2300,1150,200,1010,910,250,1048,923]
[34,"RA0650+LPB",null,"H",4800,3050,150,{"v":1425,"d":"£1,425.00"},4800,3050,1525,250,1137,1012,250,1137,1012]
[35,"RA1000LPB",null,"HH",4300,2300,150,{"v":1275,"d":"£1,275.00"},4300,2300,1150,250,1020,893,250,1020,892]
[36,"RA1000MPB",null,"H",3300,2300,150,{"v":1275,"d":"£1,275.00"},3300,2300,1150,250,1015,890,250,1020,895]
[37,"RA1000+LPB",null,"H",4800,3050,150,{"v":1425,"d":"£1,425.00"},4800,3050,1525,250,1125,1000,250,1125,999]
[38,"RD0025MPB",null,"H",1400,950,100,{"v":625,"d":"£625.00"},1400,950,475,80,520,475,100,480,425]
[39,"RD0040MPB",null,"H",1400,950,100,{"v":625,"d":"£625.00"},1400,950,475,80,485,440,100,460,410]
[40,"RD0065MPB",null,"H",1400,950,100,{"v":625,"d":"£625.00"},1400,950,475,80,485,440,100,465,410]
[41,"RD0100MPB",null,"H",1400,950,100,{"v":625,"d":"£625.00"},1400,950,475,80,485,440,100,465,410]
[42,"RD0160MPB",null,"H",0,0,0,{"v":0,"d":"£0.00"},0,0,0,0,0,0,0,0,0]
[43,"RD0250MPB",null,"H",2700,1500,150,{"v":1025,"d":"£1,025.00"},2700,1500,750,150,844,754,150,844,754]
[44,"RD0310MPB",null,"H",2700,1500,150,{"v":1025,"d":"£1,025.00"},2700,1500,750,150,835,745,200,850,750]
[45,"RD0450MPB",null,"C",3300,2050,150,{"v":1025,"d":"£1,025.00"},3300,2050,1025,925,590,748,400]
[46,"RD0450+MPB",null,"C",3300,2050,150,{"v":1025,"d":"£1,025.00"},3300,2050,1025,925,600,730,400]
[47,"RD0650MPB",null,"C",3800,2050,150,{"v":1275,"d":"£1,275.00"},3800,2050,1025,900,625,831,400]
[48,"RD1075MPB",null,"C",4300,2300,150,{"v":1275,"d":"£1,275.00"},4300,2300,1150,1025,650,958,400]
[49,"RD1600MPB",null,"C",4300,2300,150,{"v":1275,"d":"£1,275.00"},4300,2300,1150,1000,725,837,450]
[50,"RD2885MPB",null,"C",0,0,0,{"v":0,"d":"£0.00"},0,0,0,0,0,0,0]

{"sheet":"Kiosks","index":1,"n_rows":21,"n_cols":14,"rows_kept":21,"flags":["formulas_cached_only"]}
["Reference","Type","HouTypDwgRef","Length","Width","Height","Weight","Doors","Manufacturer ID","Vent Type","Vent Area","Housing Price","Delivery Cost","Manufacturer"]
["GC2","Lift Off","LO",650,400,650,16,1,"Gas Care","Circumfrential",2,{"v":185,"d":"£185.00"},{"v":14.5,"d":"£14.50"},"Gas Care Services"]
["GC2FS","Lift Off","LO",730,425,830,17,1,"Gas Care","Circumfrential",0,{"v":220,"d":"£220.00"},{"v":15.5,"d":"£15.50"},"Gas Care Services"]
["GC2MP","Lift Off","LO",700,360,850,19,1,"Gas Care","Circumfrential",2,{"v":235,"d":"£235.00"},{"v":14.5,"d":"£14.50"},"Gas Care Services"]
["GC3","Lift Off","LO",900,360,850,22,1,"Gas Care","Circumfrential",0,{"v":270,"d":"£270.00"},{"v":14.5,"d":"£14.50"},"Gas Care Services"]
["GC4","Lift Off","LO",1000,540,960,30,1,"Gas Care","Circumfrential",0,{"v":295,"d":"£295.00"},{"v":21.5,"d":"£21.50"},"Gas Care Services"]
["GC4+","Lift Off","LO",1200,750,1200,48,1,"Gas Care","Circumfrential",0,{"v":495,"d":"£495.00"},{"v":37,"d":"£37.00"},"Gas Care Services"]
["GC5","Lift Off","LO",1475,750,1350,60,1,"Gas Care","Circumfrential",0,{"v":585,"d":"£585.00"},{"v":42,"d":"£42.00"},"Gas Care Services"]
["GC6","Lift Off","LO",1600,850,1450,74,1,"Gas Care","Circumfrential",0,{"v":665,"d":"£665.00"},{"v":58,"d":"£58.00"},"Gas Care Services"]
["GC7","Lift Off","LO",1600,850,1595,86,1,"Gas Care","Circumfrential",0,{"v":830,"d":"£830.00"},{"v":73,"d":"£73.00"},"Gas Care Services"]
["GC7+","Lift Off","LO",1600,850,1750,0,1,"Gas Care","Circumfrential",0,{"v":965,"d":"£965.00"},{"v":75.5,"d":"£75.50"},"Gas Care Services"]
["GC8","Lift Off","LO",2400,1200,1800,225,1,"Gas Care","Circumfrential",0,{"v":1990,"d":"£1,990.00"},{"v":195,"d":"£195.00"},"Gas Care Services"]
["Gas Cab No 2","Lift Off","LO",730,425,835,12,1,"Kingsley","Circumfrential",0,{"v":254,"d":"£254.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["Gas Cab No 4","Lift Off","LO",1000,540,960,25,1,"Kingsley","Circumfrential",0,{"v":299,"d":"£299.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["Gas Cab No 6","Lift Off","LO",1610,855,1456,52,1,"Kingsley","Circumfrential",0,{"v":699,"d":"£699.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["KP1","Walk In","WI",3000,1750,2250,561,2,"Kingsley","Vent Panels",0,{"v":2760,"d":"£2,760.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["KP2","Walk In","WI",3000,2000,2500,664,2,"Kingsley","Vent Panels",0,{"v":3071,"d":"£3,071.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["KP3","Walk In","WI",3000,2000,2750,710,2,"Kingsley","Vent Panels",0,{"v":3191,"d":"£3,191.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["KP4","Walk In","WI",3500,1750,2250,626,2,"Kingsley","Vent Panels",0,{"v":2959,"d":"£2,959.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["KP5","Walk In","WI",4000,2000,2250,731,2,"Kingsley","Vent Panels",0,{"v":3268,"d":"£3,268.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]
["KP6","Walk In","WI",4500,2750,2250,925,2,"Kingsley","Vent Panels",0,{"v":3850,"d":"£3,850.00"},{"v":0,"d":"£0.00"},"Kingsley Plastics"]

{"sheet":"Modules","index":2,"n_rows":96,"n_cols":56,"rows_kept":96,"flags":["formulas_cached_only"]}
[{"$nulls":5},"Length","Width","Centres","H Inlet","H Outlet","Faces","Height","V Inlet","V Outlet"]
["Module Number","RigDwgNo","Module Ref","Manufacturer ID","Manufacturers Ref","Dim A","Dim B","Dim C","Dim D","Dim E","Dim F","Dim H","ModI","ModO","Dim Skid","Weight","Current","Date Cancelled","ModInlPre","LP","MP 35","MP 65","MP 105","MP 180","MP 270","Outlet","Inlet Orientation","Inlet Height","Inlet Size","Inlet Connection","Outlet Orientation","Outlet Height","Outlet Size","Outlet Connection","Filter Size","Filter type","Regulator Size","Regulator type","Lock Up","Slamshut size","Slamshut type","Slamshut setting","Releif valve size","Relief Valve type","Relief Valve setting","Q Max","Cost of Module","Delivery Cost","Control","Notes","Housing Ref","Alternative Housing","Quotation (un-uplifted) Kiosk Price","Base Ref","MetRef","MeterCost"]
[1,"lpvvstddia","AD016S","Actaris","MDA16LPS1915",25,402,95,170,180,0,556,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",265,25,"(mm) BS 746","Vertical Up",356,40,"(mm) BSPT",40,"Gause",40,"Speryn G1000",30,null,"","",null,"","",16,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","GC2FS","Gas Cab No 2",{"v":188.91,"d":"£188.91"},"U016LPB","MDA16",{"v":0,"d":"£0.00"}]
[2,"lpvvstddia","AD016SW","Actaris","MDA16LPS1915",25,402,95,170,180,0,556,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",265,25,"(mm) BS 746","Vertical Up",356,40,"(mm) BSPT",40,"Gause",40,"Speryn G1000",30,null,"","",null,"","",16,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 2","GC2",{"v":188.91,"d":"£188.91"},0,"MDA16",{"v":0,"d":"£0.00"}]
[3,"lpvvstddia","AD025S","Actaris","MDA25LPS1915",40,500,78,143,165,0,675,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",265,50,"(mm) BS 746","Vertical Up",475,50,"(mm) BSPT",50,"Gause",50,"Speryn G1000",30,null,"","",null,"","",25,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","GC4","Gas Cab No 4",{"v":301.36,"d":"£301.36"},"U025LPB","MDA25",{"v":0,"d":"£0.00"}]
[4,"lpvvstddia","AD025SW","Actaris","MDA25LPS1915",40,500,78,143,165,0,675,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",265,50,"(mm) BS 746","Vertical Up",475,50,"(mm) BSPT",50,"Gause",50,"Speryn G1000",30,null,"","",null,"","",25,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","GC3","none",{"v":301.36,"d":"£301.36"},0,"MDA25",{"v":0,"d":"£0.00"}]
[5,"lpvvstddia","AD040S","Actaris","MDA40LPS1915",40,530,137,178,203,0,765,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",265,50,"(mm) BS 746","Vertical Up",675,50,"(mm) BSPT",50,"Gause",50,"Speryn G1000",30,null,"","",null,"","",40,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","GC4","Gas Cab No 4",{"v":310.99,"d":"£310.99"},"U040LPB","MDA40",{"v":0,"d":"£0.00"}]
[6,"lpvvstddia","AD065S","Actaris","MDA65LPS1915",40,635,145,190,195,0,1065,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",265,80,"(mm) BS 746","Vertical Up",800,80,"(mm) PN16",80,"Gause",80,"Speryn G1000",30,null,"","",null,"","",65,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","GC5","none",{"v":689.19,"d":"£689.19"},"U065LPB","MDA65",{"v":0,"d":"£0.00"}]
[7,"lpvvstddia","AD100S","Actaris","MDA100LPS1915",100,830,172,271,172,0,1140,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Vertical Up",873,80,"(mm) PN16",80,"Gause",80,"Speryn G1000",30,null,"","",null,"","",99,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"U100LPB","MDA100",{"v":0,"d":"£0.00"}]
[8,"lpvvstddia","AD160S","Actaris","MDA160LPS1915",100,830,172,305,250,0,939,{"$nulls":3},0,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,100,"(mm) PN16","Vertical Up",939,100,"(mm) PN16",100,"Gause",80,"Speryn G1000",30,null,"","",null,"","",136,{"v":0,"d":"£0.00"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"U160LPB","MDA160",{"v":0,"d":"£0.00"}]
[9,"lpcompact4","ARCMVV0025A","Actaris","MRA25A19MM",395,205,310,0,0,0,565,265,160,0,125,true,null,19,true,false,false,false,false,false,15,"Vertical Down",200,40,"(mm) BSPT","Vertical Down",95,40,"(mm) BSPT",40,"Flat Strainer",40,"Fig 226",30,0,"0","0",0,"0","0",25,{"v":207.94,"d":"£207.94"},{"v":25,"d":"£25.00"},null,"","Gas Cab No 2","GC2FS",{"v":244.5,"d":"£244.50"},"RA0025LPB","MRA25A",{"v":468.05,"d":"£468.05"}]
[10,"lpcompact4","ARCMVV0025AW","Actaris","MRA25A19MM",395,205,310,0,0,0,500,200,95,0,125,true,null,19,true,false,false,false,false,false,15,"Vertical Down",200,40,"(mm) BSPT","Vertical Down",95,40,"(mm) BSPT",40,"Flat Strainer",40,"Fig 226",30,0,"0","0",0,"0","0",25,{"v":207.94,"d":"£207.94"},{"v":25,"d":"£25.00"},null,"","GC2","none",{"v":199.5,"d":"£199.50"},0,"MRA25A",{"v":468.05,"d":"£468.05"}]
[11,"lpcompact4","ARCMVV0040AW","Actaris","MRA40A19MM",450,225,356,0,0,0,595,288,50,0,125,true,null,19,true,false,false,false,false,false,15,"Vertical Down",288,50,"(mm) BSPT","Vertical Down",50,40,"(mm) BSPT",50,"Flat Strainer",50,"Fig 226",30,0,"0","0",0,"0","0",40,{"v":275.43,"d":"£275.43"},{"v":25,"d":"£25.00"},null,"","GC2","none",{"v":199.5,"d":"£199.50"},0,"MRA40A",{"v":519.59,"d":"£519.59"}]
[12,"lpcompact4","ARCMVV0040A","Actaris","MRA40A19MM",450,225,356,0,0,0,595,288,50,0,125,true,null,19,true,false,false,false,false,false,15,"Vertical Down",288,50,"(mm) BSPT","Vertical Down",50,40,"(mm) BSPT",50,"Flat Strainer",50,"Fig 226",30,0,"0","0",0,"0","0",40,{"v":275.43,"d":"£275.43"},{"v":25,"d":"£25.00"},null,"","Gas Cab No 2","GC2FS",{"v":244.5,"d":"£244.50"},"RA0040LPB","MRA40A",{"v":519.59,"d":"£519.59"}]
[13,"lpvvhhcompact2","ARCMHH0065A","Actaris","MRA65B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Horizontal Right",105,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",65,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0065LPB","MRA65B",{"v":673.62,"d":"£673.62"}]
[14,"lpvvhhcompact2","ARCMVV0065A","Actaris","MRA65B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Vertical Down",163,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",65,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0065LPB","MRA65B",{"v":673.62,"d":"£673.62"}]
[15,"lpvvhhcompact2","ARCMVH0065A","Actaris","MRA65B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Horizontal Right",105,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",65,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0065LPB","MRA65B",{"v":673.62,"d":"£673.62"}]
[16,"lpvvhhcompact2","ARCMHV0065A","Actaris","MRA65B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Vertical Down",163,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",65,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0065LPB","MRA65B",{"v":673.62,"d":"£673.62"}]
[17,"lpvvhhcompact2","ARCMHH0100A","Actaris","MRA100B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Horizontal Right",105,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",99,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0100LPB","MRA100B",{"v":673.62,"d":"£673.62"}]
[18,"lpvvhhcompact2","ARCMVV0100A","Actaris","MRA100B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Vertical Down",163,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",99,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0100LPB","MRA100B",{"v":673.62,"d":"£673.62"}]
[19,"lpvvhhcompact2","ARCMVH0100A","Actaris","MRA100B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Horizontal Right",105,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",99,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0100LPB","MRA100B",{"v":673.62,"d":"£673.62"}]
[20,"lpvvhhcompact2","ARCMHV0100A","Actaris","MRA100B19VVHH",960,490,486,800,105,668,1424,500,163,800,105,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Vertical Down",163,50,"(mm) BSPT",80,"Witches Hat Strainer",80,"J90 ANGLED",30,0,"0","0",0,"0","0",99,{"v":629.9,"d":"£629.90"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0100LPB","MRA100B",{"v":673.62,"d":"£673.62"}]
[21,"lpvvhhcompact1","ARCMVV0160A","Actaris","MRA160C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Vertical Down",250,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",141,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0160LPB","MRA160C",{"v":833.26,"d":"£833.26"}]
[22,"lpvvhhcompact1","ARCMHH0160A","Actaris","MRA160C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Horizontal Right",124,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",141,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0160LPB","MRA160C",{"v":833.26,"d":"£833.26"}]
[23,"lpvvhhcompact1","ARCMVH0160A","Actaris","MRA160C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Horizontal Right",124,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",141,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0160LPB","MRA160C",{"v":833.26,"d":"£833.26"}]
[24,"lpvvhhcompact1","ARCMHV0160A","Actaris","MRA160C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Vertical Down",250,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",141,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0160LPB","MRA160C",{"v":833.26,"d":"£833.26"}]
[25,"lpvvhhcompact1","ARCMVV0200A","Actaris","MRA200C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Vertical Down",250,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",148,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0200LPB","MRA200C",{"v":1126.06,"d":"£1,126.06"}]
[26,"lpvvhhcompact1","ARCMHH0200A","Actaris","MRA200C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Horizontal Right",124,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",148,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0200LPB","MRA200C",{"v":1126.06,"d":"£1,126.06"}]
[27,"lpvvhhcompact1","ARCMVH0200A","Actaris","MRA200C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Horizontal Right",124,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",148,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0200LPB","MRA200C",{"v":1126.06,"d":"£1,126.06"}]
[28,"lpvvhhcompact1","ARCMHV0200A","Actaris","MRA200C19VVHH",960,490,486,800,124,734,1424,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Vertical Down",250,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",148,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"RA0200LPB","MRA200C",{"v":1126.06,"d":"£1,126.06"}]
[29,"lpvvhhcompact1","ARCMVV0250A","Actaris","MRA250C19VVHH",960,490,486,800,124,734,1544,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Vertical Down",250,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",160,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","GC7","none",{"v":903,"d":"£903.00"},"RA0250LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[30,"lpvvhhcompact1","ARCMHH0250A","Actaris","MRA250C19VVHH",960,490,486,800,124,734,1544,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Horizontal Right",124,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",160,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","GC7","none",{"v":903,"d":"£903.00"},"RA0250LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[31,"lpvvhhcompact1","ARCMVH0250A","Actaris","MRA250C19VVHH",960,490,486,800,124,734,1544,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,80,"(mm) PN16","Horizontal Right",124,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",160,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","GC7","none",{"v":903,"d":"£903.00"},"RA0250LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[32,"lpvvhhcompact1","ARCMHV0250A","Actaris","MRA250C19VVHH",960,490,486,800,124,734,1544,500,250,800,115,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,80,"(mm) PN16","Vertical Down",250,80,"(mm) PN16",80,"LOW LOSS STRAINER",80,"J90 ANGLED",30,0,"0","0",0,"0","0",160,{"v":868.74,"d":"£868.74"},{"v":55,"d":"£55.00"},null,"","GC7","none",{"v":903,"d":"£903.00"},"RA0250LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[33,"lpvvhhcompact3","ARVV0250AP","Actaris","MRA250C19VVHHPLUS",1391,500,1082,800,152,1391,1560,500,277,716,175,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,100,"(mm) PN16","Vertical Down",277,80,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",194,{"v":1707.52,"d":"£1,707.52"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0250+LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[34,"lpvvhhcompact3","ARHH0250AP","Actaris","MRA250C19VVHHPLUS",1391,500,1082,800,152,1391,1560,500,277,716,175,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,100,"(mm) PN16","Horizontal Right",152,80,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",194,{"v":1707.52,"d":"£1,707.52"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0250+LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[35,"lpvvhhcompact3","ARVH0250AP","Actaris","MRA250C19VVHHPLUS",1391,500,1082,800,152,1391,1560,500,277,716,175,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,100,"(mm) PN16","Horizontal Right",152,80,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",194,{"v":1707.52,"d":"£1,707.52"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0250+LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[36,"lpvvhhcompact3","ARHV0250AP","Actaris","MRA250C19VVHHPLUS",1391,500,1082,800,152,1391,1560,500,277,716,175,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,100,"(mm) PN16","Vertical Down",277,80,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",194,{"v":1707.52,"d":"£1,707.52"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0250+LPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[37,"lplmvvhh1","ARVV0300A","Actaris","MRA300D19LM",2058,600,1838,800,800,1561,1410,500,638,1131,300,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,100,"(mm) PN16","Vertical Down",638,100,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",220,{"v":1120.79,"d":"£1,120.79"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0300LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[38,"lplmvvhh1","ARHH0300A","Actaris","MRA300D19LM",2058,600,1838,800,800,1561,1410,500,638,1131,300,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,100,"(mm) PN16","Horizontal Right",800,100,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",220,{"v":1120.79,"d":"£1,120.79"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0300LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[39,"lplmvvhh1","ARVH0300A","Actaris","MRA300D19LM",2058,600,1838,800,800,1561,1410,500,638,1131,300,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,100,"(mm) PN16","Horizontal Right",800,100,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",220,{"v":1120.79,"d":"£1,120.79"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0300LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[40,"lplmvvhh1","ARHV0300A","Actaris","MRA300D19LM",2058,600,1838,800,800,1561,1410,500,638,1131,300,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,100,"(mm) PN16","Vertical Down",638,100,"(mm) PN16",100,"LOW LOSS STRAINER",100,"Fig 226",30,0,"0","0",0,"0","0",220,{"v":1120.79,"d":"£1,120.79"},{"v":55,"d":"£55.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0300LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[41,"lplmvvhh1","ARVV0300AP","Actaris","MRA300DLP1915LMPLUS",2342,700,2089,800,800,1761,1492,500,638,1226,400,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Vertical Down",638,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",300,{"v":2589.43,"d":"£2,589.43"},{"v":90,"d":"£90.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0300+LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[42,"lplmvvhh1","ARHH0300AP","Actaris","MRA300DLP1915LMPLUS",2342,700,2089,800,800,1761,1492,500,638,1226,400,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Horizontal Right",800,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",300,{"v":2589.43,"d":"£2,589.43"},{"v":90,"d":"£90.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0300+LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[43,"lplmvvhh1","ARVH0300AP","Actaris","MRA300DLP1915LMPLUS",2342,700,2089,800,800,1761,1492,500,638,1226,400,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Horizontal Right",800,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",300,{"v":2589.43,"d":"£2,589.43"},{"v":90,"d":"£90.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0300+LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[44,"lplmvvhh1","ARHV0300AP","Actaris","MRA300DLP1915LMPLUS",2342,700,2089,800,800,1761,1492,500,638,1226,400,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Vertical Down",638,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",300,{"v":2589.43,"d":"£2,589.43"},{"v":90,"d":"£90.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0300+LPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[45,"lplmvvhh1","ARVV0400A","Actaris","MRA400D19LM",2324,700,1907,800,800,1743,1613,500,638,1209,400,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Vertical Down",638,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",341,{"v":1512.26,"d":"£1,512.26"},{"v":55,"d":"£55.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0400LPB","MRA400D",{"v":1334.21,"d":"£1,334.21"}]
[46,"lplmvvhh1","ARHH0400A","Actaris","MRA400D19LM",2324,700,1907,800,800,1743,1613,500,638,1209,400,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Horizontal Right",800,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",341,{"v":1512.26,"d":"£1,512.26"},{"v":55,"d":"£55.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0400LPB","MRA400D",{"v":1334.21,"d":"£1,334.21"}]
[47,"lplmvvhh1","ARVH0400A","Actaris","MRA400D19LM",2324,700,1907,800,800,1743,1613,500,638,1209,400,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Horizontal Right",800,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",341,{"v":1512.26,"d":"£1,512.26"},{"v":55,"d":"£55.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0400LPB","MRA400D",{"v":1334.21,"d":"£1,334.21"}]
[48,"lplmvvhh1","ARHV0400A","Actaris","MRA400D19LM",2324,700,1907,800,800,1743,1613,500,638,1209,400,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Vertical Down",638,100,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",341,{"v":1512.26,"d":"£1,512.26"},{"v":55,"d":"£55.00"},null,"","KP4","none",{"v":2959,"d":"£2,959.00"},"RA0400LPB","MRA400D",{"v":1334.21,"d":"£1,334.21"}]
[49,"lplmvvhh1","ARVV0650A","Actaris","MRA650SE19LM",2861,726,2576,800,800,2172,1492,500,562,1515,470,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Vertical Down",562,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48",30,0,"0","0",0,"0","0",450,{"v":1738.05,"d":"£1,738.05"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA0650LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[50,"lplmvvhh1","ARHH0650A","Actaris","MRA650SE19LM",2861,726,2576,800,800,2172,1492,500,562,1515,470,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48",30,0,"0","0",0,"0","0",450,{"v":1738.05,"d":"£1,738.05"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA0650LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[51,"lplmvvhh1","ARVH0650A","Actaris","MRA650SE19LM",2861,726,2576,800,800,2172,1492,500,562,1515,470,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48",30,0,"0","0",0,"0","0",450,{"v":1738.05,"d":"£1,738.05"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA0650LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[52,"lplmvvhh1","ARHV0650A","Actaris","MRA650SE19LM",2861,726,2576,800,800,2172,1492,500,562,1515,470,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Vertical Down",562,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48",30,0,"0","0",0,"0","0",450,{"v":1738.05,"d":"£1,738.05"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA0650LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[53,"lptwin","ARVV0650AP","Actaris","MRA650SE19LMPLUS",3219,1322,2776,800,800,2836,1492,500,561,2037,800,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Vertical Down",561,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",570,{"v":3848.8,"d":"£3,848.80"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA0650+LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[54,"lptwin","ARHH0650AP","Actaris","MRA650SE19LMPLUS",3219,1322,2776,800,800,2836,1492,500,561,2037,800,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",570,{"v":3848.8,"d":"£3,848.80"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA0650+LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[55,"lptwin","ARVH0650AP","Actaris","MRA650SE19LMPLUS",3219,1322,2776,800,800,2836,1492,500,561,2037,800,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",570,{"v":3848.8,"d":"£3,848.80"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA0650+LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[56,"lptwin","ARHV0650AP","Actaris","MRA650SE19LMPLUS",3219,1322,2776,800,800,2836,1492,500,561,2037,800,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Vertical Down",561,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"J48B",30,0,"0","0",0,"0","0",570,{"v":3848.8,"d":"£3,848.80"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA0650+LPB","MRA650E",{"v":3511.46,"d":"£3,511.46"}]
[57,"lplmvvhh1","ARVV1000A","Actaris","MRA1000SE19LM",2800,825,2515,800,800,2111,1613,500,562,1565,620,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Vertical Down",562,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",517,{"v":1759.89,"d":"£1,759.89"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA1000LPB","MRA1000SE",{"v":4135.89,"d":"£4,135.89"}]
[58,"lplmvvhh1","ARHH1000A","Actaris","MRA1000SE19LM",2800,825,2515,800,800,2111,1613,500,562,1565,620,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",517,{"v":1759.89,"d":"£1,759.89"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA1000LPB","MRA1000SE",{"v":4135.89,"d":"£4,135.89"}]
[59,"lplmvvhh1","ARVH1000A","Actaris","MRA1000SE19LM",2800,825,2515,800,800,2111,1613,500,562,1565,620,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",517,{"v":1759.89,"d":"£1,759.89"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA1000LPB","MRA1000SE",{"v":4135.89,"d":"£4,135.89"}]
[60,"lplmvvhh1","ARHV1000A","Actaris","MRA1000SE19LM",2800,825,2515,800,800,2111,1613,500,562,1565,620,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Vertical Down",562,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",517,{"v":1759.89,"d":"£1,759.89"},{"v":90,"d":"£90.00"},null,"","KP5","none",{"v":3268,"d":"£3,268.00"},"RA1000LPB","MRA1000SE",{"v":4135.89,"d":"£4,135.89"}]
[61,"lptwin","ARVV1000AP","Actaris","MRA1000SE19LMPLUS",3245,1345,2801,800,800,2862,1613,500,561,2075,1000,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Vertical Down",561,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",663,{"v":4357.59,"d":"£4,357.59"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA1000+LPB","MRA1000+",{"v":4135.89,"d":"£4,135.89"}]
[62,"lptwin","ARHH1000AP","Actaris","MRA1000SE19LMPLUS",3245,1345,2801,800,800,2862,1613,500,561,2075,1000,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",663,{"v":4357.59,"d":"£4,357.59"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA1000+LPB","MRA1000+",{"v":4135.89,"d":"£4,135.89"}]
[63,"lptwin","ARVH1000AP","Actaris","MRA1000SE19LMPLUS",3245,1345,2801,800,800,2862,1613,500,561,2075,1000,true,null,19,true,false,false,false,false,false,15,"Vertical Down",500,150,"(mm) PN16","Horizontal Right",800,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",663,{"v":4357.59,"d":"£4,357.59"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA1000+LPB","MRA1000+",{"v":4135.89,"d":"£4,135.89"}]
[64,"lptwin","ARHV1000AP","Actaris","MRA1000SE19LMPLUS",3245,1345,2801,800,800,2862,1613,500,561,2075,1000,true,null,19,true,false,false,false,false,false,15,"Horizontal Left",800,150,"(mm) PN16","Vertical Down",561,150,"(mm) PN16",150,"LOW LOSS STRAINER",150,"Fig 226",30,0,"0","0",0,"0","0",663,{"v":4357.59,"d":"£4,357.59"},{"v":500,"d":"£500.00"},null,"","KP6","none",{"v":3850,"d":"£3,850.00"},"RA1000+LPB","MRA1000+",{"v":4135.89,"d":"£4,135.89"}]
[65,"mpvvstddia","ASD016A","Actaris","MDA16MPS270",483,346,363,0,0,0,653,265,337,0,30,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,20,"(mm) BSPT","Vertical Up",337,40,"(mm) BSPT",20,"Y Type",25,"RBI 2011",23.7,25,"Integral","47.5",15,"Integral","35",16,{"v":323.14,"d":"£323.14"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 2","GC2FS",{"v":244.5,"d":"£244.50"},"U016MPB","MDA16",{"v":108,"d":"£108.00"}]
[66,"mpvvstddia","ASD016AW","Actaris","MDA16MPS270",483,346,363,0,0,0,653,265,337,0,30,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,20,"(mm) BSPT","Vertical Up",337,40,"(mm) BSPT",20,"Y Type",25,"RBI 2011",23.7,25,"Integral","47.5",15,"Integral","35",16,{"v":323.14,"d":"£323.14"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 2","GC2MP",{"v":251.75,"d":"£251.75"},0,"MDA16",{"v":108,"d":"£108.00"}]
[67,"mpvvstddia","ASD025A","Actaris","MDA25MPS270",797,308,579,0,0,0,854,265,471,0,40,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,25,"(mm) BSPT","Vertical Up",471,50,"(mm) BSPT",25,"Y Type",25,"RBI 2111",23.7,25,"Integral","47.5",15,"Integral","35",25,{"v":376.64,"d":"£376.64"},{"v":0,"d":"£0.00"},null,"","GC4+","none",{"v":532,"d":"£532.00"},"U025MPB","MDA25",{"v":280,"d":"£280.00"}]
[68,"mpvvstddia","ASD040A","Actaris","MDA40MPS270",875,381,678,0,0,0,954,265,649,0,60,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,25,"(mm) BSPT","Vertical Up",649,50,"(mm) BSPT",25,"Y Type",40,"RBE2611",23.7,40,"Integral","47.5",15,"Integral","35",40,{"v":531.62,"d":"£531.62"},{"v":0,"d":"£0.00"},null,"","GC4+","none",{"v":532,"d":"£532.00"},"U040MPB","MDA40",{"v":380,"d":"£380.00"}]
[69,"mpvvstddia","ASD065A","Actaris","MDA65MPS270",1072,385,762,0,0,0,1117,265,1106,0,98,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,50,"(mm) BSPT","Vertical Up",1106,80,"(mm) PN16",40,"Y Type",25,"RBI 3211",23.7,25,"Integral","47.5",15,"Integral","35",65,{"v":1009.01,"d":"£1,009.01"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"U065MPB","MDA65",{"v":640,"d":"£640.00"}]
[70,"mpvvstddia","ASD100A","Actaris","MDA100MPS270",1180,601,828,0,0,0,1341,265,957,0,137,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,50,"(mm) BSPT","Vertical Up",957,80,"(mm) PN16",40,"Y Type",25,"RBE 4011",23.7,25,"Integral","47.5",25,"VS811","35",99,{"v":1437.89,"d":"£1,437.89"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"U100MPB","MDA100",{"v":1180,"d":"£1,180.00"}]
[71,"mpvvstddia","ASD160A","Actaris","MDA160MPS270",1301,645,816,0,0,0,1324,265,1000,0,193,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,50,"(mm) BSPT","Vertical Up",1000,100,"(mm) PN16",50,"Y Type",40,"RBE1811",23.7,40,"Integral","47.5",25,"VS811","35",139,{"v":1459.65,"d":"£1,459.65"},{"v":0,"d":"£0.00"},null,"","Gas Cab No 6","GC6",{"v":713.46,"d":"£713.46"},"U160MPB","MDA160",{"v":1250,"d":"£1,250.00"}]
[72,"actmp1","ASR0025A","Actaris","MRA25AMPS270",627,260,400,0,0,0,711,265,225,247,50,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,25,"(mm) BSPT","Vertical Down",225,40,"(mm) BSPT",25,"Y Type",25,"RBI 2111",23.9,25,"Integral","47.5",15,"Integral","35",25,{"v":508.25,"d":"£508.25"},{"v":84,"d":"£84.00"},null,"","Gas Cab No 2","GC2FS",{"v":244.5,"d":"£244.50"},"RA0025MPB","MRA25A",{"v":468.05,"d":"£468.05"}]
[73,"actmp1","ASR0040A","Actaris","MRA40AMPS270",861,260,686,0,0,0,672,265,303,458,55,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,25,"(mm) BSPT","Vertical Down",303,40,"(mm) BSPT",25,"Y Type",40,"RBI 2611",23.7,40,"Integral","47.5",15,"Integral","35",40,{"v":519.16,"d":"£519.16"},{"v":84,"d":"£84.00"},null,"","GC4+","none",{"v":532,"d":"£532.00"},"RA0040MPB","MRA40A",{"v":519.59,"d":"£519.59"}]
[74,"actmp2","ASR0100A","Actaris","MRA100BMPS270",1070,484,800,0,0,0,1268,265,316,575,70,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,50,"(mm) BSPT","Vertical Down",316,50,"(mm) BSPT",40,"Y Type",25,"RBE 4011",23.7,25,"Integral","47.5",25,"VS811","35",92,{"v":1455.88,"d":"£1,455.88"},{"v":84,"d":"£84.00"},null,"","GC5","none",{"v":627,"d":"£627.00"},"RA0100MPB","MRA100B",{"v":673.62,"d":"£673.62"}]
[75,"actmp3","ASR0160A","Actaris","MRA160CMPS270",1470,450,1280,0,0,0,1210,265,101,968,100,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,50,"(mm) BSPT","Vertical Down",101,80,"(mm) PN16",50,"Angle Pattern",40,"RBE1811",23.4,40,"Integral","47.5",25,"VS811","35",160,{"v":1631.75,"d":"£1,631.75"},{"v":84,"d":"£84.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0160MPB","MRA160C",{"v":833.26,"d":"£833.26"}]
[76,"actmp4","ASR0200A","Actaris","MRA200CMPS270",1413,496,1223,0,0,0,1198,265,102,1295,100,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,50,"(mm) BSPT","Vertical Down",102,80,"(mm) PN16",50,"Angle Pattern",40,"RBE1811",23.9,40,"Integral","47.5",25,"VS811","35",188,{"v":1872.86,"d":"£1,872.86"},{"v":84,"d":"£84.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0200MPB","MRA200C",{"v":1126.06,"d":"£1,126.06"}]
[77,"actmp4","ASR0250A","Actaris","MRA250CMPS270",1446,495,1240,0,0,0,1392,500,222,935,160,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,80,"(mm) PN16","Vertical Down",222,80,"(mm) PN16",80,"Angle Pattern",40,"RBE1811",24,40,"Integral","47.5",25,"VS811","35",202,{"v":2722.36,"d":"£2,722.36"},{"v":84,"d":"£84.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0250MPB","MRA250C",{"v":1184.68,"d":"£1,184.68"}]
[78,"actmp4","ASR0300A","Actaris","MRA300DMPS270",1537,585,1310,0,0,0,1365,500,200,1019,350,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,80,"(mm) PN16","Vertical Down",200,100,"(mm) PN16",80,"Angle Pattern",40,"RBE 4011",24.2,40,"Integral","47.5",25,"VS811","35",265,{"v":2958.96,"d":"£2,958.96"},{"v":84,"d":"£84.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0300MPB","MRA300D",{"v":1247.98,"d":"£1,247.98"}]
[79,"actmp5","ASR0400A","Actaris","MRA400DMPS270",1537,749,1310,0,0,0,1400,500,104,983,375,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,80,"(mm) PN16","Vertical Down",104,100,"(mm) PN16",80,"Angle Pattern",50,"RBE 4011",25.3,50,"Integral","47.5",25,"VS811","35",329,{"v":3291.32,"d":"£3,291.32"},{"v":84,"d":"£84.00"},null,"","GC8","none",{"v":2185,"d":"£2,185.00"},"RA0400MPB","MRA400D",{"v":1334.21,"d":"£1,334.21"}]
[80,"actmp6","ASR0650A","Actaris","MRA650SEMPS270",1832,765,1467,0,0,0,1918,500,151,1106,500,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,100,"(mm) PN16","Vertical Down",151,150,"(mm) PN16",100,"Angle Pattern",50,"RBE 4011",24.1,50,"Integral","47.5",25,"VS811","35",535,{"v":3504.74,"d":"£3,504.74"},{"v":500,"d":"£500.00"},null,"","KP2","none",{"v":3071,"d":"£3,071.00"},"RA0650MPB","MRA650SE",{"v":3511.46,"d":"£3,511.46"}]
[81,"actmp7","ASR1000A","Actaris","MRA1000SEMPS270",1843,848,1515,0,0,0,2067,500,85,1070,750,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,150,"(mm) PN16","Vertical Down",85,150,"(mm) PN16",150,"Angle Pattern",80,"RBE 4011",25.9,80,"Integral","47.5",25,"VS811","35",666,{"v":4111.42,"d":"£4,111.42"},{"v":500,"d":"£500.00"},null,"","KP3","none",{"v":3191,"d":"£3,191.00"},"RA1000MPB","MRA1000SE",{"v":4135.89,"d":"£4,135.89"}]
[82,"dremp1","ASR0025D","Dresser","08CMM-270",760,375,500,0,0,0,1130,265,200,333,65,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,40,"1.5\" BSPT","Vertical Down",200,50," 2\" BSPT",40,"Y Type",40,"Donkin Fig 270R/309LP",30,40,"Integral","47.5",15,"Integral","35",23,{"v":938.47,"d":"£938.47"},{"v":70,"d":"£70.00"},null,null,"GC4+","none",{"v":532,"d":"£532.00"},"RD0025MPB","MRD0025B4B",{"v":602.8,"d":"£602.80"}]
[83,"dremp1","ASR0040D","Dresser","15CMM-270",825,550,550,0,0,0,1122,265,340,725,65,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,40,"(mm) BSPT","Vertical Down",340,50,"(mm) BSPT",40,"Y Type",40,"Donkin Fig 270R/309LP",30,40,"Integral","47.5",15,"Integral","35",40,{"v":938.47,"d":"£938.47"},{"v":70,"d":"£70.00"},null,null,"GC4+","none",{"v":532,"d":"£532.00"},"RD0040MPB","MRD0040B4B",{"v":646.5,"d":"£646.50"}]
[84,"dremp1","ASR0065D","Dresser","MP-2MMM",825,550,550,0,0,0,1125,265,340,725,65,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,40,"(mm) BSPT","Vertical Down",340,50,"(mm) BSPT",40,"Y Type",40,"Donkin Fig 270R/309LP",30,40,"Integral","47.5",15,"Integral","35",57,{"v":938.47,"d":"£938.47"},{"v":70,"d":"£70.00"},null,null,"GC4+","none",{"v":532,"d":"£532.00"},"RD0065MPB","MRD0065B4B",{"v":656.5,"d":"£656.50"}]
[85,"dremp1","ASR0100D","Dresser","MP-3MVV",825,550,550,0,0,0,1125,265,340,725,65,true,null,280,false,false,false,false,false,true,21,"Vertical Down",265,40,"(mm) BSPT","Vertical Down",340,50,"(mm) BSPT",50,"Y Type",50,"Donkin Fig 270R/309LP",30,50,"Integral","47.5",15,"Integral","35",81,{"v":2383.9,"d":"£2,383.90"},{"v":70,"d":"£70.00"},null,null,"GC4+","none",{"v":532,"d":"£532.00"},"RD0100MPB","MRD0100B4B",{"v":656.5,"d":"£656.50"}]
[86,"nodraw1","ASR0160D","Dresser","MP-5MVV",160,640,120,200,420,0,1250,{"$nulls":3},84,true,null,280,false,false,false,false,false,true,21,"Vertical Down",150,50,"(mm) PN16","Vertical Down",150,80,"(mm) PN16",50,"Y Type",50,"Donkin Fig 270R",30,50,"Integral","47.5",15,"Integral","35",130,{"v":2498.4,"d":"£2,498.40"},{"v":70,"d":"£70.00"},null,"No Housing or base have been allocated to this rig yet.","",null,null,"RD0160MPB","MRD0160B4C",{"v":813.25,"d":"£813.25"}]
[87,"dremp2","ASR0250D","Dresser","MP 9MVV",1490,600,1192,0,0,0,1550,500,250,985,270,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,80,"(mm) PN16","Vertical Down",250,80,"(mm) PN16",80,"Angle Pattern",50,"Donkin Fig 280/309",30,50,"Integral","47.5",25,"10L","35",230,{"v":2800,"d":"£2,800.00"},{"v":90,"d":"£90.00"},null,null,"GC8","none",{"v":2185,"d":"£2,185.00"},"RD0250MPB","MRD0250B4D",{"v":1205.6,"d":"£1,205.60"}]
[88,"dremp2","ASR0310D","Dresser","MP 11MVV",1490,600,1205,0,0,0,1550,500,250,990,280,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,80,"(mm) PN16","Vertical Down",250,100,"(mm) PN16",80,"Angle Pattern",50,"Donkin Fig 280/309",30,50,"Integral","47.5",25,"10L","35",285,{"v":2949.7,"d":"£2,949.70"},{"v":90,"d":"£90.00"},null,null,"GC8","none",{"v":2185,"d":"£2,185.00"},"RD0310MPB","MRD0310B4D",{"v":1489,"d":"£1,489.00"}]
[89,"dremp3","ASR0450D","Dresser","MP-16M3-2S",2035,750,400,0,0,0,1450,500,340,1775,410,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,80,"(mm) PN16","Vertical Down",340,100,"(mm) PN16",80,"Angle Pattern",50,"Donkin Fig 280 ",30,50,"Donkin Fig 305","47.5",25,"10L","35",362,{"v":3170.8,"d":"£3,170.80"},{"v":150,"d":"£150.00"},null,null,"KP1","none",{"v":2760,"d":"£2,760.00"},"RD0450MPB","MRD0450B4D",{"v":1688.5,"d":"£1,688.50"}]
[90,"dremp3","ASR0450DP","Dresser","MP-16M4-2S",2070,750,400,0,0,0,1545,500,435,1775,425,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,100,"(mm) PN16","Vertical Down",435,100,"(mm) PN16",100,"Angle Pattern",50,"Donkin Fig 280 ",30,50,"Donkin Fig 305","47.5",25,"10L","35",362,{"v":3170.8,"d":"£3,170.80"},{"v":150,"d":"£150.00"},null,null,"KP1","none",{"v":2760,"d":"£2,760.00"},"RD0450+MPB","MRD0450B4D",{"v":1688.5,"d":"£1,688.50"}]
[91,"dremp3","ASR0650D","Dresser","MP-23M4-3S",2450,800,400,0,0,0,1590,500,215,2180,600,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,100,"(mm) PN16","Vertical Down",215,150,"(mm) PN16",100,"Angle Pattern",50,"Donkin Fig 280 ",30,50,"Donkin Fig 305","47.5",25,"10L","35",547,{"v":4753.7,"d":"£4,753.70"},{"v":190,"d":"£190.00"},null,null,"KP4","none",{"v":2959,"d":"£2,959.00"},"RD0650MPB","MRD0650B4E",{"v":3835.5,"d":"£3,835.50"}]
[92,"dremp4","ASR1075D","Dresser","MP-38M6-3S-1",2720,796,400,0,0,0,1725,500,200,2120,750,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,150,"(mm) PN16","Vertical Down",200,150,"(mm) PN16",150,"Angle Pattern",80,"Donkin Fig 280 ",30,80,"Donkin Fig 305","47.5",25,"10L","35",710,{"v":6263.9,"d":"£6,263.90"},{"v":190,"d":"£190.00"},null,null,"KP5","none",{"v":3268,"d":"£3,268.00"},"RD1075MPB","MRD1075B4E",{"v":4562.25,"d":"£4,562.25"}]
[93,"dremp3","ASR1600D","Dresser","MP-56M6-4S-1",2970,925,450,0,0,0,1900,500,200,2655,1000,true,null,280,false,false,false,false,false,true,21,"Vertical Down",500,150,"(mm) PN16","Vertical Down",200,200,"(mm) PN16",150,"Angle Pattern",100,"Donkin Fig 280 ",30,100,"Donkin Fig 305","47.5",25,"10L","35",1181,{"v":7463.9,"d":"£7,463.90"},{"v":250,"d":"£250.00"},null,null,"KP5","none",{"v":3268,"d":"£3,268.00"},"RD1600MPB","MRD1600B4F",{"v":8443,"d":"£8,443.00"}]
[94,"nodraw1","ASR2885D","Dresser","MP-102M10-4S-2",275,550,2625,750,750,0,1895,{"$nulls":3},1680,true,null,280,false,false,false,false,false,true,21,"Vertical Down",463,200,"(mm) PN16","Vertical Down",160,250,"(mm) PN16",200,"Angle Pattern",100,"Donkin Fig 280 ",30,100,"Donkin Fig 305","47.5",25,"10L","35",2137,{"v":11450.4,"d":"£11,450.40"},{"v":450,"d":"£450.00"},null,"No Housing or base have been allocated to this rig yet.","",null,null,"RD2885MPB","MRD2885A10",{"v":12349.5,"d":"£12,349.50"}]