# Appendix A: System Data
The system data descriptions provided in this appendix determine the information stored within webMIP for Meter Modules, Housing, Base and pricing elements. These elements will be controlled through the administration functions provided by webMIP.
Meter Modules
The meter modules will have the following data items:
Module Unique identification number
Rig drawing reference number
TMS Module Reference
Manufacturers identification
Manufacturers module reference
Dimensions A to H
Module weight in kg
Module current or past
Date module model cancelled
Inlet Pressure
Service pressure
Module outlet pressure
Module inlet orientation
Module inlet height
Module inlet size
Module inlet connection type
Module outlet orientation
Module outlet height
Module outlet size
Module outlet connection type
Module filter size
Module filter type
Module regulator size
Module regulator type
Module regulator lock up setting
Module slamshut size
Module slamshut type
Module slamshut setting
Module relief valve size
Module relief valve type
Module relief valve setting
Module Qmax
Module Cost
Module delivery cost
Module control type
Module Notes
Compatible housing reference
Base Reference
Meter Reference

Housing
Housing Unique reference number
Housing Reference
Housing Type (Wall Mounted / Lift Off / Walk in / Walk Through)
Housing type reference for drawing
Housing dimension L
Housing dimension W
Housing dimension H
Housing Weight
Number of doors
Manufacturer ID
Housing Ventilation type
Total area of ventilation high and low
Housing Cost
Housing Delivery Cost

Base
Base Reference
Base Drawing Reference
Length of Base
Width of Base
Depth of Base
Cost of base
Dimensions A to I

Pricing Data
To be Confirmed